TO:

Potential customer

Date: enter quote date here

Quotation YYMMDD/TIME

| Item | Part Number/ Description | Unit Price, US$ | Quantity | Amount, US$ |
| --- | --- | --- | --- | --- |
| 1 2 3 4 | MCP-Open Image Intensifier MCP-GPS25/2 2 MCP 25-10E, diam 24.8mm 10-12 core (10micron channel, 12 micron c-c) in V-stack assembly, P20 phosphor on a glass Active area >18mm MCP-Open Image Intensifier MCP-IFP25/2 2 MCP 25-10E, diam 24.8mm 10-12 core (10micron channel, 12 micron c-c) in V-stack assembly, P20 phosphor on a fiber plate Active area >18mm MCP-Open Image Intensifier MCP-GPS34/2 2 MCP 33-10E, diam 32.8 mm or 2 MCP 34-10, diam 34 mm 10-12 core (10micron channel, 12 micron c-c) in V-stack assembly, P20 phosphor on a glass Active area >25mm MCP-Open Image Intensifier MCP-IFP34/2 2 MCP 33-10E, diam 32.8 mm or 2 MCP diam 34 mm 10-12 core (10micron channel, 12 micron c-c) in V-stack assembly, P20 phosphor on a fiber plate Active area >25mm | 1990.- 2190.- 2600.- 2800.- | 1 1 1 1 | 1990.- 2190.- 2600.- 2800.- |

Delivery time: from stock	Price quote valid: 90 days

We accept Master Card, VISA and American Express, and 30 days net on approved credit

Money back guarantee: if you are not completely satisfied with our MCP detector within 60 days after delivery you can return it for complete refund

|  | ----------------------------------------------------- Quoted by: Del Mar Photonics Tel (858) 876-3133, fax (858) 630-2376 http://www.dmphotonics.com/ e-mail: sales@dmphotonics.com |
| --- | --- |